{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Лист1","БД Трубы","БД Коэффициенты"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":1,"defined_names":10,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Лист1","index":0,"n_rows":3,"n_cols":17,"rows_kept":3,"cut":false,"hidden":false,"merged":[]}
[]
[]
[null,28.8,null,{"$f":"B3+IF(C3=\"\",0,C3)","v":28.8},{"$f":"v_Hd(J3,K3,L3,H3,D3,I3,1)","v":2},null,null,3,"Корсис DN/OD",250,{"$f":"VLOOKUP($J3,INDIRECT(Q3),2,)","v":250},{"$f":"VLOOKUP($K3,INDIRECT(Q3),3,)","v":17},null,null,null,null,{"$f":"VLOOKUP(I3,Материал[],4,0)","v":"КорсисDNOD"}]

{"sheet":"БД Трубы","index":1,"n_rows":17,"n_cols":28,"rows_kept":17,"cut":false,"hidden":false,"merged":[]}
[]
[]
[]
[]
[]
["Материал",null,null,null,null,"НПВХ SDR 41 SN4",null,null,null,"НПВХ SDR 34 SN8",null,null,null,"Корсис PE SN4",null,"Корсис PE SN8",null,"БНТ",null,null,null,"ПЭ100 SDR 26 СЛ",null,null,null,"ПЭ100 SDR 17,6 С"]
["Наименование","ГОСТ","Материал","Имя таблицы",null,"Dy","D","t",null,"Dy","D","t",null,"Dy","D","t",null,"Dy","D","t",null,"Dy","D","t",null,"Dy","D","t"]
["НПВХ SDR 41 SN4","ГОСТ 32413-2013","пластмасса",{"$f":"УдалитьСимволы(Материал[[#This Row],[Наименование]],\"/ (),\")","v":"НПВХSDR41SN4"},null,150,160,4,null,150,160,4.7,null,150,160,11,null,150,161,10,null,150,160,6.2,null,150,160,9.1]
["НПВХ SDR 34 SN8","ГОСТ 32413-2013","пластмасса",{"$f":"УдалитьСимволы(Материал[[#This Row],[Наименование]],\"/ (),\")","v":"НПВХSDR34SN8"},null,200,200,4.9000000000000004,null,200,200,5.9,null,200,200,12,null,200,222,11,null,200,200,7.7,null,200,200,11.4]
["Корсис DN/OD","ГОСТ Р 54475-2011","пластмасса",{"$f":"УдалитьСимволы(Материал[[#This Row],[Наименование]],\"/ (),\")","v":"КорсисDNOD"},null,250,250,6.2,null,250,250,7.3,null,250,250,17,null,250,274,13,null,250,250,9.6,null,250,250,14.2]
["БНТ","ГОСТ 31416-2009","хризотилцемент",{"$f":"УдалитьСимволы(Материал[[#This Row],[Наименование]],\"/ (),\")","v":"БНТ"},null,300,315,7.7,null,300,315,9.1999999999999993,null,300,315,22,null,300,320,14,null,300,315,12.1,null,300,315,17.899999999999999]
["ПЭ100 SDR 26 (СЛ)","ГОСТ 18599-2001","пластмасса",{"$f":"УдалитьСимволы(Материал[[#This Row],[Наименование]],\"/ (),\")","v":"ПЭ100SDR26СЛ"},null,400,400,9.8000000000000007,null,400,400,11.7,null,400,400,28.5,null,400,419,17,null,400,400,15.3,null,400,400,22.7]
["ПЭ100 SDR 17,6 (С)","ГОСТ 18599-2001","пластмасса",{"$f":"УдалитьСимволы(Материал[[#This Row],[Наименование]],\"/ (),\")","v":"ПЭ100SDR176С"},null,500,500,12.3,null,500,500,14.6,null,500,500,36.5,null,500,514,24,null,500,500,19.100000000000001,null,500,500,28.3]
[null,null,null,null,null,630,630,15.4,null,630,630,18.399999999999999,null,630,630,47.5,null,null,null,null,null,630,630,24.1,null,630,630,35.700000000000003]
[null,null,null,null,null,800,800,19.600000000000001,null,800,800,23.4,null,800,800,61,null,null,null,null,null,800,800,30.6,null,800,800,45.3]
[null,null,null,null,null,1000,1000,24.5,null,null,null,null,null,1000,1000,74.5,null,null,null,null,null,1000,1000,38.200000000000003,null,1000,1000,56.6]
[null,null,null,null,null,null,null,null,null,null,null,null,null,1200,1200,85,null,null,null,null,null,1200,1200,45.9,null,1200,1200,68]

{"sheet":"БД Коэффициенты","index":2,"n_rows":71,"n_cols":18,"rows_kept":71,"cut":false,"hidden":false,"merged":[]}
[]
[null,"НПВХ SDR 41 SN4с с уклоном до 0,01",null,null,null,null,null,null,null,null,"НПВХ SDR 41 SN4 с уклоном после 0,01"]
[null,"0","A","B","C","D","E","F","G",null,"0","A","B","C","D","E","F","G"]
[null,150,-1.5688555215038099E-6,5.9727048457179898E-5,-9.6290831622834598E-4,8.7557209466505408E-3,-5.1808653549256498E-2,0.28698620537400998,4.7482705083652703E-2,null,150,-1.1594632033045E-11,4.2699434790110097E-9,-6.4226069866242595E-7,5.1746414749461001E-5,-2.5516530416590101E-3,0.108490599490723,0.39225171988983698]
[null,200,-5.5644662070863302E-6,1.92028659290349E-4,-2.6956065154320201E-3,2.0223656356329101E-2,-9.3052386783085805E-2,0.38291372896131798,5.0892678888434698E-2,null,200,-1.18682283761764E-11,4.4148468727365904E-9,-6.7395470139338902E-7,5.5434117128239099E-5,-2.8075678433277002E-3,0.12270428329805599,0.48904393597795198]
[null,250,-3.5065612385855499E-6,1.2336775753235001E-4,-1.8319765521309301E-3,1.5289033797382201E-2,-8.2503005689255296E-2,0.40813873330949402,9.4967013152640903E-2,null,250,-1.3118320510324699E-11,4.9207352190458996E-9,-7.5732363564846504E-7,6.2769101059138103E-5,-3.1999723389173501E-3,0.140166593075368,0.59239689884477398]
[null,300,-3.29143747562643E-6,1.3032474437537199E-4,-2.1279476424841699E-3,1.87400637849158E-2,-0.101459834758885,0.48397513477742998,0.13047189295881401,null,300,-1.5891869646044301E-11,5.9301066110813202E-9,-9.0778993806889305E-7,7.47822112385761E-5,-3.7808178849213902E-3,0.163116046302863,0.70916913633262502]
[null,400,-4.4323509352669099E-6,1.6580997193134701E-4,-2.5749777952640499E-3,2.1950408309357201E-2,-0.118055590502366,0.566096758220201,0.17211304685481699,null,400,-1.7946619203405499E-11,6.7277539638864898E-9,-1.03509808229153E-6,8.5727277943145198E-5,-4.3560290167892401E-3,0.188165078136039,0.85803353237729596]
[null,500,-6.5714342804964699E-6,2.50539981301706E-4,-3.9032212989816698E-3,3.2422966954976103E-2,-0.16267543276528801,0.69419805765561104,0.197088596555831,null,500,-2.1224247053966899E-11,7.9290190401104897E-9,-1.2145179109470899E-6,1.00020054380812E-4,-5.0455870090587301E-3,0.21558190347119399,1.00902593948785]
[null,630,-5.5533957320272196E-6,2.21338630862696E-4,-3.6385472337506701E-3,3.2199715110643602E-2,-0.17324146394846199,0.78645095708386603,0.25999942280809801,null,630,-2.4627871914865401E-11,9.1966438104395903E-9,-1.4075143777864401E-6,1.15770229839323E-4,-5.8297890715299904E-3,0.24803086493094001,1.19966486062164]
[null,800,-8.6781982378676095E-6,3.3106884421486897E-4,-5.1638416633794102E-3,4.3013194971454102E-2,-0.21701178176498701,0.92921908310505097,0.32425798436185299,null,800,-2.8412749780364099E-11,1.06165623643683E-8,-1.62580374640211E-6,1.33780813731624E-4,-6.7351392555839397E-3,0.28562701010745001,1.42282562904039]
[null,1000,-7.3318274728942004E-6,2.8761647894534598E-4,-4.6545904710299001E-3,4.0747459806302601E-2,-0.21987794420870199,1.0230773223124501,0.42085535443795902,null,1000,-3.2137712217250298E-11,1.2025774406967E-8,-1.8452594793922099E-6,1.5222440601981099E-4,-7.6849996452900702E-3,0.326158930003975,1.67366202651827]
[]
[null,"НПВХ SDR 34 SN8 с с уклоном до 0,01",null,null,null,null,null,null,null,null,"НПВХ SDR 34 SN8 с уклоном после 0,01"]
[null,"0","A","B","C","D","E","F","G",null,"0","A","B","C","D","E","F","G"]
[null,150,-1.05122163064389E-6,4.4758858167846403E-5,-8.0196317681041499E-4,7.9401922290452693E-3,-4.9651059859134899E-2,0.28294905655851299,4.6909278659955603E-2,null,150,-1.1222882533641301E-11,4.1478265970034798E-9,-6.2686413127284805E-7,5.0792808158855698E-5,-2.5192039001493702E-3,0.107605334449556,0.38811796277246602]
[null,200,-4.7133710147249498E-6,1.6625576108509599E-4,-2.3975168428945698E-3,1.85369338941727E-2,-8.7968618711636401E-2,0.37384777464031599,5.2169972045098198E-2,null,200,-1.13014638716832E-11,4.2344749203687999E-9,-6.5129341029703205E-7,5.3980967332140403E-5,-2.7548156682981198E-3,0.121310264646668,0.48599992596332597]
[null,250,-4.9863036349061502E-6,1.72952683433525E-4,-2.4716262791530099E-3,1.92457366410109E-2,-9.4306622369938503E-2,0.42224220757307201,8.6671615865963905E-2,null,250,-1.26701907252322E-11,4.7591104819462499E-9,-7.3433415044643401E-7,6.1132517879358697E-5,-3.1380213882390802E-3,0.138758369151539,0.59326940130258299]
[null,300,-2.13672534962168E-6,9.9517485038436894E-5,-1.8362733607832E-3,1.75802343887578E-2,-9.9726170808287606E-2,0.48222663950566902,0.12569563731522801,null,300,-1.5608983277511301E-11,5.8370081641070704E-9,-8.95273310150137E-7,7.3883230203145199E-5,-3.7418380576822599E-3,0.16172712290362701,0.70253060655676103]
[null,400,-3.6212012846199601E-6,1.41315576943588E-4,-2.2877953826427101E-3,2.0240443207513E-2,-0.11220045501902,0.552869367095291,0.174313037482169,null,400,-1.8011264036498498E-11,6.73532039140729E-9,-1.03369943196888E-6,8.5410622455643002E-5,-4.3311129107378296E-3,0.18681786540185799,0.84871387634808204]
[null,500,-6.1631469281871302E-6,2.36761849309915E-4,-3.7190042498605001E-3,3.1188195160990001E-2,-0.15832145525921101,0.68543451428840696,0.19806365636110501,null,500,-2.1079551189766399E-11,7.8750443309370101E-9,-1.20610251193557E-6,9.9311579503995895E-5,-5.0105498592307902E-3,0.21433266688939501,1.0051584395136499]
[null,630,-8.5724766157290193E-6,3.2202741333896398E-4,-4.9300398125983998E-3,4.0136901653379603E-2,-0.196798043409461,0.81485001076262198,0.243168280731519,null,630,-2.41072677677E-11,9.0282134834016698E-9,-1.3860841313968299E-6,1.14379260337796E-4,-5.7779681160868004E-3,0.24654061948699901,1.1941499412280601]
[null,800,-8.5072123111397807E-6,3.2633995968555702E-4,-5.1241935909389202E-3,4.2997452029604998E-2,-0.21818738604135701,0.93234249208262099,0.31346505302503802,null,800,-2.82250629342148E-11,1.0550246965999999E-8,-1.6161630161290399E-6,1.3302166584629399E-4,-6.6986245679241099E-3,0.28420357972924798,1.4153304226285299]
[]
[null,"Корсис с уклоном до 0,01",null,null,null,null,null,null,null,null,"Корсис с уклоном после 0,01"]
[null,"0","A","B","C","D","E","F","G",null,"0","A","B","C","D","E","F","G"]
[null,150,-1.6890965188132801E-6,6.1798485838405903E-5,-9.62548217817749E-4,8.5167274105724892E-3,-4.9270670030869303E-2,0.26785659602630502,3.4719680143426697E-2,null,150,-1.12723301805299E-11,4.1576587794708896E-9,-6.2564352193330198E-7,5.0279854587599699E-5,-2.4579609175213101E-3,0.102700980315014,0.34277623838057603]
[null,200,-5.4272322012552404E-6,1.87727818667115E-4,-2.6176213518095699E-3,1.9329933766524501E-2,-8.7224374115623601E-2,0.35618438449178103,3.9438699360040901E-2,null,200,-1.06548400395578E-11,3.9829055614751603E-9,-6.11208174365729E-7,5.0565868044866497E-5,-2.5796206750657801E-3,0.114089335555195,0.45179837847187398]
[null,250,-3.6956191337731798E-6,1.31534381622761E-4,-1.95395697087207E-3,1.5996095466125501E-2,-8.2688074654828095E-2,0.38782904570149801,7.6634670055165596E-2,null,250,-1.16209783525987E-11,4.3802323679704697E-9,-6.7832125147755499E-7,5.6671700807178802E-5,-2.9200009419520401E-3,0.12992731893475101,0.54785119809196503]
[null,300,-7.8074257426259205E-6,2.7278462623271698E-4,-3.8658334278589899E-3,2.9030702608419001E-2,-0.13105595753284299,0.50674721728984895,8.38048057796308E-2,null,300,-1.4865530874161499E-11,5.5588656414750002E-9,-8.5205496937371102E-7,7.02222483947179E-5,-3.5497259317909999E-3,0.15325286309302799,0.65178886434279903]
[null,400,-6.1386762176161902E-7,3.6784639570427E-5,-8.6849493727466905E-4,1.0707424863008901E-2,-7.8554594657479604E-2,0.48056507515653202,0.17571304389824099,null,400,-1.7072789477714401E-11,6.3923523947818197E-9,-9.814676558490901E-7,8.1046215984001595E-5,-4.1032906241203898E-3,0.176757468262874,0.78678465824184196]
[null,500,-4.4260316706104003E-6,1.6877713229575901E-4,-2.6685122998032101E-3,2.3072091831286699E-2,-0.125229084986101,0.60457538343319395,0.19803008106710099,null,500,-1.9428874691067801E-11,7.2903809753018999E-9,-1.1214380930099799E-6,9.2729203963057204E-5,-4.69714272599188E-3,0.20180665961954,0.93275959586059998]
[null,630,-3.9105286323562E-6,1.6415567799676599E-4,-2.8331610482104199E-3,2.6257634718795799E-2,-0.14799540206935699,0.70925220475629902,0.246899752341181,null,630,-2.28050678881711E-11,8.5081102111671198E-9,-1.30181619933259E-6,1.07160332900562E-4,-5.4087898259407999E-3,0.231316315374824,1.1078271569175699]
[null,800,-5.4109373380531698E-6,2.13502583285239E-4,-3.4889194744872499E-3,3.09914231959217E-2,-0.17071007881043501,0.81972817461251402,0.32252445729065199,null,800,-2.7034635201062701E-11,1.00786972275155E-8,-1.5402937063498099E-6,1.2652429755959899E-4,-6.36093198822427E-3,0.26962437696413699,1.32327280926349]
[null,1000,-1.03123150923511E-5,3.8993646026575499E-4,-6.0193091266867796E-3,4.9504334326467898E-2,-0.24542174333494099,1.02026239674526,0.34432087183712001,null,1000,-2.9804206474149803E-11,1.11835415489412E-8,-1.72010632564705E-6,1.42142407157084E-4,-7.1825038953806999E-3,0.30513443222277598,1.54407648634309]
[null,1200,-6.5194410068606004E-6,2.6141640064982201E-4,-4.3394233014923201E-3,3.9111451886741401E-2,-0.21804518326786801,1.0506913312981001,0.46575486047682602,null,1200,-3.3978334071927997E-11,1.2705092493886401E-8,-1.9472395711164499E-6,1.6037140951136999E-4,-8.0780202769677699E-3,0.34166980316401302,1.7627128383043]
[]
[null,"БНТ с уклоном до 0,01",null,null,null,null,null,null,null,null,"БНТ с уклоном после 0,01"]
[null,"0","A","B","C","D","E","F","G",null,"0","A","B","C","D","E","F","G"]
[null,150,-3.5367133479097502E-7,2.25475018145993E-5,-5.0726004183059502E-4,5.6978480537494703E-3,-3.7299792292162598E-2,0.198426165434818,7.6360012290372106E-2,null,150,-7.22398165477922E-12,2.6853096731751602E-9,-4.0780358369129002E-7,3.3110943271011803E-5,-1.63198120199705E-3,6.6604261526205202E-2,0.32564501945337798]
[null,200,-2.6893990024841002E-7,2.14971452248016E-5,-5.3877444243381799E-4,6.4293160433612599E-3,-4.3515246903666399E-2,0.236621811586533,0.10818758164108,null,200,-8.2550795489597692E-12,3.0654545900688301E-9,-4.6606204472421199E-7,3.8033629987022503E-5,-1.8962480814136401E-3,7.8796230531496897E-2,0.415305290861815]
[null,250,-3.5850411444420599E-6,1.3224369474586E-4,-1.9789488313486201E-3,1.5719992771694401E-2,-7.5640119347163803E-2,0.30863771270934498,0.11387932191444,null,250,-8.27310509994618E-12,3.1214642929225498E-9,-4.8385649970855799E-7,4.0419717720265598E-5,-2.0709454501868399E-3,8.8485212089005602E-2,0.49407776568692902]
[null,300,-3.29295586695027E-6,1.17416929671148E-4,-1.7345661307210599E-3,1.4051125145604E-2,-7.1904446135060099E-2,0.32301710853087701,0.142095036451098,null,300,-1.0200438540465099E-11,3.8087550479160103E-9,-5.8270769099952005E-7,4.7864405934187598E-5,-2.39850800173529E-3,9.9395078038117798E-2,0.54146821687661395]
[null,400,-2.6971233301511502E-6,1.05899779077628E-4,-1.7188149947702301E-3,1.5160074379537499E-2,-8.28309101307413E-2,0.38312280830579998,0.179383078896624,null,400,-1.20557546167175E-11,4.5048659918774197E-9,-6.8959741425342598E-7,5.6655459573804297E-5,-2.8372868394843198E-3,0.117185224352889,0.656217588888796]
[null,500,-3.0573186307872002E-6,1.1738058934928401E-4,-1.87311816714196E-3,1.6380396866502799E-2,-8.9654328110542497E-2,0.41882834747495701,0.207280217159692,null,500,-1.32817943252123E-11,4.9616036185172596E-9,-7.5930847946869798E-7,6.2365101341858099E-5,-3.1219300096246602E-3,0.128751224886063,0.73205657563168203]
[]
[null,"ПЭ100 SDR 26 (СЛ) с уклоном до 0,01",null,null,null,null,null,null,null,null,"ПЭ100 SDR 26 (СЛ) с уклоном после 0,01"]
[null,"0","A","B","C","D","E","F","G",null,"0","A","B","C","D","E","F","G"]
[null,150,-2.61796760925433E-6,9.10972569930932E-5,-1.3208715619538701E-3,1.06631991150007E-2,-5.6226735020966097E-2,0.28694702334452998,4.2481732394313597E-2,null,150,-1.1369674613963999E-11,4.1941647355936402E-9,-6.3220039056094502E-7,5.1024158613743699E-5,-2.5161671691625699E-3,0.10671085916400801,0.37886289873935702]
[null,200,-3.2106685961144499E-6,1.21055773510347E-4,-1.87935873089376E-3,1.5671917476452302E-2,-7.9829852144615604E-2,0.36040811428257302,5.3580657140085003E-2,null,200,-1.19261836572804E-11,4.4207959140669398E-9,-6.7166382306644096E-7,5.4930796369907401E-5,-2.7657801625665598E-3,0.120393940879172,0.47592951043934101]
[null,250,-1.8265859660354201E-6,8.5858139493580305E-5,-1.58847407850728E-3,1.51792577966408E-2,-8.5623412639964105E-2,0.41178444750626603,8.42167406712339E-2,null,250,-1.2371002513675301E-11,4.6579096381200796E-9,-7.2063914145191202E-7,6.0149427521168697E-5,-3.0940879702656501E-3,0.137020455017897,0.58335339298627098]
[null,300,-3.80800600216368E-6,1.5408866304291699E-4,-2.5200566582263399E-3,2.1671620084145801E-2,-0.11136292743763,0.49309082798463499,0.11420034634114901,null,300,-1.52435427984098E-11,5.7146617065739996E-9,-8.7880155063149003E-7,7.2703673545886896E-5,-3.6895951116810099E-3,0.15970460370817799,0.69084848155158096]
[null,400,-8.4298268273348501E-6,2.9947995124167301E-4,-4.28394438656846E-3,3.2271012318932001E-2,-0.14699283980110101,0.59225991862724203,0.150991368320855,null,400,-1.79325785623575E-11,6.7114056746381601E-9,-1.0296648617478299E-6,8.4942172705890294E-5,-4.2962766280150904E-3,0.184807326740866,0.83397694359014596]
[null,500,-3.61171357427228E-6,1.4682664872560499E-4,-2.4720575531602599E-3,2.2588978443909301E-2,-0.12764481689295201,0.63010985003667797,0.21836341764109099,null,500,-2.02737839248172E-11,7.6140801819113106E-9,-1.1724066606610999E-6,9.7047062471194593E-5,-4.9203493677992E-3,0.211376520743045,0.99050607320693296]
[null,630,-7.8697830863454601E-6,2.96051827363847E-4,-4.5570878947926701E-3,3.7498781293456997E-2,-0.18703009424839401,0.79312799233527398,0.24343012898614899,null,630,-2.46730084092434E-11,9.1935793272751402E-9,-1.4033975361816099E-6,1.1505816810263399E-4,-5.7705866236482098E-3,0.24441892561787801,1.1708438854327201]
[null,800,-7.6437557766285798E-6,2.9584719187239098E-4,-4.6885917952366896E-3,3.9761683108869197E-2,-0.20481419338815399,0.89921454455985195,0.32277044523991399,null,800,-2.7478059027650699E-11,1.0292161136440801E-8,-1.5803705434574199E-6,1.3042733898177301E-4,-6.5871674203159102E-3,0.280296851338802,1.39525231431938]
[null,1000,-7.3091734037785203E-6,2.8668664654511099E-4,-4.6363628070758001E-3,4.0515876265153197E-2,-0.21783473792538099,1.00791008629297,0.40829907107699898,null,1000,-3.1939325309206698E-11,1.19262443772709E-8,-1.8258262910493199E-6,1.5027512872079499E-4,-7.5704570609764097E-3,0.32078522988206398,1.63801485875738]
[null,1200,-6.4647338090181302E-6,2.6078403873130399E-4,-4.3615812238428902E-3,3.9695917350980103E-2,-0.224094105210002,1.09474339929362,0.50161777682798303,null,1200,-3.5697238905864002E-11,1.3359954016298301E-8,-2.0488104998285302E-6,1.68735903121445E-4,-8.4914051113878907E-3,0.35821755091532598,1.8575212298082799]
[]
[null,"ПЭ100 SDR 17,6 (С) с уклоном до 0,01",null,null,null,null,null,null,null,null,"ПЭ100 SDR 17,6 (С) с уклоном после 0,01"]
[null,"0","A","B","C","D","E","F","G",null,"0","A","B","C","D","E","F","G"]
[null,150,-2.1416020552367E-7,1.7171772496906001E-5,-4.52027200445843E-4,5.7795385778574302E-3,-4.2636537476978098E-2,0.26594751507242198,4.2663881355194999E-2,null,150,-1.11913467770377E-11,4.1319750985482498E-9,-6.2311969910295601E-7,5.0289653016767301E-5,-2.47696846795011E-3,0.104625972037792,0.36036511798773901]
[null,200,-8.5716379424970804E-7,4.9763302376766601E-5,-1.03479105341853E-3,1.07178535464769E-2,-6.4786387854722502E-2,0.33448865424775098,5.5047364204780798E-2,null,200,-1.0658355530860899E-11,3.9810191931563796E-9,-6.1045707984448599E-7,5.0510999349186699E-5,-2.5846690172400999E-3,0.115355640318582,0.47355724993638998]
[null,250,-6.2131674385026699E-6,2.2087994922041101E-4,-3.1748975878429799E-3,2.4116009184894299E-2,-0.11015028359835299,0.43603970609368198,6.2918644763791096E-2,null,250,-1.17214298045974E-11,4.4182996960143698E-9,-6.8483101444002202E-7,5.7340770390531801E-5,-2.9658385848035798E-3,0.132655143667053,0.57041272008650601]
[null,300,-1.4449872269381201E-6,6.4963214107776194E-5,-1.2245504472455E-3,1.26199078312912E-2,-8.0207229480632095E-2,0.43977346964425201,0.12868402565553599,null,300,-1.47868147668455E-11,5.5400918535109704E-9,-8.5185288429192305E-7,7.0523139005683905E-5,-3.5857996186484699E-3,0.15579866343569501,0.67259809859237496]
[null,400,-1.51076757088835E-6,7.1407498617875195E-5,-1.4014228300579599E-3,1.4846619605717299E-2,-9.5537156849843402E-2,0.51907162761486902,0.16776649130032401,null,400,-1.7547351540613301E-11,6.5548709992896E-9,-1.0044139153601E-6,8.2822463199632405E-5,-4.1908199499098298E-3,0.18054585994674699,0.81074554570287705]
[null,500,-1.9581469635901301E-6,9.2077648796159802E-5,-1.77566859628042E-3,1.8357821451866201E-2,-0.115036072402002,0.60707564120310697,0.21131174091174201,null,500,-1.98359923169598E-11,7.4415589074042001E-9,-1.1449517876412901E-6,9.4737611937545407E-5,-4.8037625448554104E-3,0.206569232318562,0.96342770034796599]
[null,630,-2.2618395631820902E-6,1.03466167287E-4,-1.9611134200905999E-3,2.0142112750260802E-2,-0.127031633389798,0.68563045228721298,0.27982901536225802,null,630,-2.34286263099987E-11,8.7480699810013893E-9,-1.3390846941579699E-6,1.10211874292001E-4,-5.5577893541535204E-3,0.23717299028217301,1.139166310846]
[null,800,-5.3311859104403502E-6,2.1049928807076901E-4,-3.44477663118233E-3,3.0705045465760701E-2,-0.170371469746643,0.82854338796079796,0.33775402349676298,null,800,-2.68720399957448E-11,1.0064305511015E-8,-1.5448556550236801E-6,1.2743249105625501E-4,-6.4336427499993203E-3,0.273912849893932,1.35826732673339]
[null,1000,-5.8304410374870802E-6,2.3391172629915101E-4,-3.8843001782133801E-3,3.5043813766655198E-2,-0.19596034575139901,0.95214573646628098,0.41088647471045198,null,1000,-3.0762830460247E-11,1.15045088437056E-8,-1.76428317872352E-6,1.45478453370147E-4,-7.3435550729845003E-3,0.31199202763391698,1.5889975426478999]
[null,1200,-7.2029811377893796E-6,2.8500705867536599E-4,-4.6706236430766402E-3,4.1582310743330797E-2,-0.228931549252297,1.0852219774077601,0.467045762397023,null,1200,-3.4031015486172699E-11,1.27664540534058E-8,-1.96342951692774E-6,1.6227527024647399E-4,-8.2013523523691793E-3,0.34780240784483102,1.8046367777574199]